NASA Black Marble Project Meeting Preparation

# 1. Current Research Progress Summary

## 1.1 Research Objective

Identify backup generator usage during power outages using Nighttime Light (NTL) data by analyzing NTL change patterns around critical infrastructure to detect backup power deployment.

## 1.2 Research Framework

- Resilience Curve Framework: Analyze system performance changes before, during, and after outage events

- Core Hypothesis: Facilities with backup generators should show different NTL patterns compared to surrounding areas during outages

## 1.3 Data and Methods

| Data Type | Source | Purpose |
| --- | --- | --- |
| Nighttime Light | VIIRS VNP46A2 (500m) | NTL radiance extraction |
| Outage Records | EAGLE-I | Screen outage events |
| Critical Facility Locations | OpenStreetMap | Define buffer zones |

Analysis Workflow:

- Screen severe outage events (>10,000 affected customers, >8 hours)

- Define temporal windows: 5 days pre-outage, during-outage, 5 days post-outage

- Extract pixel-level NTL radiance, apply QA flags to exclude cloud contamination

- Compare NTL changes in 500m buffer zones around critical facilities vs non-buffer areas

## 1.4 Key Findings

Data Availability:

- Total outage events: 23

- Events with during-outage imagery: 18

- High snow cover events (>10%): 2 (excluded)

- Usable events for analysis: 16

NTL Change Analysis Results:

- Buffer regions (500m around critical facilities) show +2.4% higher NTL resilience on average

- Overall signal strength is relatively weak

- 44% of events show NTL increase during outages (excluding high-snow conditions)

# 2. Current Challenges

## 2.1 Spatial Resolution Limitation

- Issue: 500m resolution of VNP46A2 is too coarse for facility-level analysis

- Impact: One pixel may contain multiple facilities, hard to distinguish individual generator signals

- Current compromise: Using 500m buffer as balance between statistical stability and spatial precision

## 2.2 Baseline Data Fluctuation

- Issue: Daily fluctuations make it difficult to distinguish true outage impacts

- Observation: Many events show NTL increase during outages

- Cause: Daily NTL fluctuation can reach 9-15% (per reference paper)

## 2.3 Ground Truth Absence

- Issue: Lack of verification data for actual backup generator locations

- Impact: Cannot validate model prediction accuracy

- Current approach: Using critical public facilities (hospitals, fire stations) as proxy labels

## 2.4 Weather Interference

- Winter storms: Snow cover significantly affects NTL readings

- Case: 2021 Texas Winter Storm Uri had 79.5% snow coverage

- Need: Better snow pixel tracking and exclusion mechanisms

# 3. Methods from Reference Papers

## 3.0 NASA Official Method (Wang et al. 2018 - Black Marble Team)

IMPORTANT: This paper is from the NASA Black Marble project team (M.O. Roman et al.) - the official recommended approach

Core Formula:

Percent_normal = NTL_post-event / NTL_before-event

- Uses gap-filled VNP46 data as before-event baseline

- Short multi-days aggregation methods to reduce cloud mask spatial extent estimation error

Recovery Metrics:

| Metric Name | Definition |
| --- | --- |
| Recovery start date | The date when power starts to recover |
| Recovery duration | Number of days between recovery start and full recovery |
| Recovery rate | Linear slope of NTL change during recovery period |

Key Technical Points:

- Black Marble precision: Can detect daily change of 0.43 nW cm-2 sr-1 (7x better than JPSS requirement)

- Lunar BRDF correction: Lunar cycle contamination can cause false power recovery estimation

- Atmospheric correction: Compensates for aerosols, water vapor, and ozone impacts on NTL radiances

- Vegetation correction: Accounts for seasonal variations due to vegetation phenology

Directly Relevant to Our Research: The paper explicitly mentions Black Marble products are being used to position diesel generators in affected areas - this is exactly our research direction!

## 3.1 Zhang et al. 2023: Monthly Data as Pre-disaster Baseline

Paper Method:

Relative NTL Change Ratio = (Rad_pre - Rad_post) / Rad_pre

- Rad_pre: VNP46A3 monthly data (one month before disaster)

- Rad_post: VNP46A2 daily data (first high-quality post-disaster date)

Advantages:

- Monthly data smooths daily fluctuations, providing more stable baseline

- Paper found daily fluctuation averages ~9.36% (range: 3.64%-15.21%)

- Uses 10% threshold to distinguish disaster-caused changes from normal fluctuation

Recommendation: Switch from daily to monthly pre-outage baseline to significantly reduce false positives caused by daily fluctuations

## 3.2 Data Quality Control

QA Strategy from Paper:

- Strictly use quality flag layer to screen high-quality pixels

- Avoid gap-filled data

- Only select regions primarily flagged as high quality for analysis

## 3.3 Key Statistics from Zhang et al. 2023

| Metric | Value | Source |
| --- | --- | --- |
| Daily NTL fluctuation average | 9.36% | Table 3 |
| Daily NTL fluctuation range | 3.64% - 15.21% | Table 3 |
| Recommended change threshold | 10% | Section 4.2 |
| Hurricane detection F1 Score | 0.738 avg | Table 5 |
| Earthquake detection F1 Score | 0.504 avg | Table 5 |
| Tornado detection F1 Score | 0.521 avg | Table 5 |

# 4. Questions/Requests for NASA Team

## 4.1 Technical Questions

- What is the current status and access pathway for Black Marble HD product?

- Any recommendations for backup generator detection application specifically?

- Algorithm details for VNP46A3 monthly data generation? (How are missing values handled?)

## 4.2 Data/Resource Requests

- Are there higher-resolution NTL products available for our research?

- Are there validated power outage + NTL datasets for reference?

- Any special handling recommendations for Texas Winter Storm Uri event?

## 4.3 Collaboration Possibilities

- Is early access to Black Marble HD product possible?

- Are other research teams working on similar backup generator detection?

# 5. Suggested Next Steps

| Priority | Direction | Rationale |
| --- | --- | --- |
| 1 | Switch to monthly baseline | Directly addresses daily fluctuation issue, low implementation cost |
| 2 | Obtain higher resolution data | Addresses spatial resolution limitation |
| 3 | Focus on clean events for case studies | Minimizes weather interference |
| 4 | Obtain ground truth data | Validates method effectiveness |